|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **No** | **Item Description** | **Quantity** | **Detail specification** | **MRCS’s Recommended items** |
| 5.h | Mask, N95 or FFP2 (or)  Mask, KN 95 | 1 Pcs | Particle filtration efficiency: PFE (0.3 micron) > 95%; Bacterial Filtration Efficiency: BFE > 99%. Duckbill / cup-shaped. N95 according to FDA Class II and CDC NIOSH, or FFP2 according to EN 149  (OR).  Material: Nonwoven Fabric, Malt Blown Fabric, Needle-punch cotton  Layer- 5 Layer, Colour - White Particle Filtration efficacy: PPE (0.3 micron)> 95%  Bacterial Filtration Efficiency: BEF> 99% Duckbill/Cup-Shaped | Material: Nonwoven Fabric, Malt Blown Fabric, Needle-punch cotton  Layer- 5 Layer  Colour - White / Green Particle Filtration efficacy: PPE (0.3 micron)> 95%  Bacterial Filtration Efficiency: BEF> 99% Duckbill/Cup- Shaped  N 95  3 M 1860  NIOSH  TC – 84A-0006  Lot B 20020 |